- Contents ◎

# Chapter 1.  General

## 1.1 Guide to Use This Manual	1 - 1

## 1.2 Features	1 - 2

# Chapter 2.  Names of Parts

## 2.1 Names of Part and Description	2 - 1

# Chapter 3.  General Specifications

## 3.1 General Specifications 	3 - 1

## 3.2 Performance specifications 	3 - 2

# Chapter 4.  System Configuration

## 4.1 1:1 Configuration	4 - 1

## 4.2 1:N Configuration 	4 - 2

### 4.3 N:1 Configuration	  4 - 3

## 4.4 N:N Configuration	4 - 4

## 4.5 Slave Configuration	4 - 4

# Chapter 5.  Panel Editor Installation

## 5.1 System Requirements	5 - 1

## 5.2 Panel Editor Installation	5 - 2

# Chapter 6.  Panel Editor

## 6.1 Main Screen of Panel Editor	6 - 1

### 6.1.1 Menu and toolbar window	6 - 1

### 6.1.2 Screen editing window	6 - 2

### 6.1.3 Screen selection window	6 - 2

### 6.1.4 Properties window	6 - 2

## 6.2 Menu & Tool Bar	6 - 3

### 6.2.1 Menus	6 - 4

### 6.2.2 Tool Bar	6 - 6

## 6.3 File Menu	6 - 7

### 6.3.1 New project	6 - 7

### 6.3.2 Open project	6 - 11

### 6.3.3 Save project	6 - 12

### 6.3.4 Save as	6 - 12

### 6.3.5 Option	6 - 12

### 6.3.6 Change PLC type	6 - 13

### 6.3.7 Change COM port	6 - 13

### 6.3.8 Print	6 - 13

### 6.3.9 Print preview	6 - 13

### 6.3.10 Print setup	6 - 13

### 6.3.11 Recent projects	6 - 13

### 6.3.12 Exit	6 - 13

## 6.4 Edit Menu	6 - 18

### 6.4.1 Cut	6 - 14

### 6.4.2 Copy	6 - 14

### 6.4.3 Paste	6 - 14

### 6.4.4 Delete	6 - 14

### 6.4.5 Layer	6 - 14

### 6.4.6 Align/space	6 - 15

### 6.4.7 Grid & snap	6 - 16

### 6.4.8 Select all	6 - 17

### 6.4.9 Lock tag	6 - 17

### 6.4.10 Unlock tag	6 - 17

### 6.4.11 Pop-up menu	6 - 17

## 6.5 View Menu	6 - 18

### 6.5.1 Toolbar	6 - 18

### 6.5.2 Status bar	6 - 18

### 6.5.3 Memory usage	6 - 18

## 6.6 Screen Menu	6 - 19

### 6.6.1 New screen	6 - 19

### 6.6.2 Delete screen	6 - 21

## 6.7 Tag Menu	6 - 22

### 6.7.1 Selection	6 - 22

### 6.7.2 Digit tag	6 - 22

### 6.7.3 Text tag	6 - 27

### 6.7.4 Message tag	6 - 27

### 6.7.5 Button tag	6 - 29

### 6.7.6 Lamp tag	6 - 31

### 6.7.7 Bar graph tag	6 - 32

### 6.7.8 Trend graph tag	6 - 34

### 6.7.9 Pie graph tag	6 - 36

### 6.7.10 Rotate tag	6 - 39

### 6.7.11 Move tag	6 - 40

### 6.7.12 Clock tag	6 - 42

### 6.7.13 Image tag	6 - 43

### 6.7.14 Line tag	6 - 44

### 6.7.15 Rectangle tag	6 - 45

### 6.7.16 Circle tag	6 - 46

## 6.8 Common Resource Menu	6 - 47

### 6.8.1 Message management	6 - 47

### 6.8.2 Image management	6 - 48

### 6.8.3 Parameter	6 - 50

### 6.8.4 Alarm	6 - 51

### 6.8.5 Calculation	6 - 53

### 6.8.6 Block communication	6 - 56

### 6.8.7 Reservation	6 - 58

## 6.9 Communication Menu	6 - 60

### 6.9.1 Download/upload	6 - 60

### 6.9.2 Font	6 - 61

### 6.9.3 Data/time	6 - 61

### 6.9.4 Password	6 - 61

### 6.9.5 Clear password	6 - 61

## 6.10 Help Menu	6 - 62

### 6.10.1 About XGT Editor	6 - 62

## 6.11 Key Setting	6 - 63

### 6.11.1 None	6 - 65

### 6.11.2 Bit	6 - 65

### 6.11.3 Drive out	6 - 66

### 6.11.4 Increment	6 - 67

### 6.11.5 Decrement	6 - 68

### 6.11.6 Screen	6 - 69

# Chapter 7.  XGT-Panel Function

## 7.1 Key Operation	7 - 1

### 7.1.1 Operation mode	7 - 1

### 7.1.2 Screen change mode	7 - 1

### 7.1.3 Alarm history mode	7 - 2

### 7.1.4 Value-changing mode	7 - 3

### 7.1.5 Password mode	7 - 4

### 7.1.6 Date/time	7 - 6

### 7.1.7 Buzzer volume	7 - 7

### 7.1.8 Backlight	7 - 8

## 7.2 Operation Mode	7 - 9

### 7.2.1 Monitoring mode	7 - 9

### 7.2.2 Key	7 - 10

## 7.3 Screen Changing	7 - 11

## 7.4 Alarm	7 - 12

## 7.5 Buzzer	7 - 13

## 7.6 System Memory	7 - 14

# Chapter 8.  Communication

## 8.1 Connection Diagram(to LG PLC)	8 - 1

### 8.1.1 Channel 1(RS-232C)	8 - 1

### 8.1.2 Channel 2(RS-422/485)	8 - 3

## 8.2 Panel Editor Connection Diagram	8 - 4

# Appendix

## Appendix 1 System Memory	A1-1

## Appendix 2 Dimension	A2-1