Chapter2. Names of Parts

2.1 Names of Parts and Description

①

②

③

④

⑤

| No | Names | Description |  |  | Remark |
| --- | --- | --- | --- | --- | --- |
| 1 | Power supply connector | 2 pin connector for the external 24VDC input |  |  | DC 24V |
| 2 | Mode switch | Dip switch for selecting O/S Download Mode and Operation Mode. |  |  | Default : RUN |
|  |  | Dip SW. 1 | Dip SW. 2 | Mode |  |
|  |  | RUN | RUN | Operating mode |  |
|  |  | O/S | O/S | O/S downloading mode |  |
| 3 | Variable resistor | Variable resistor for adjusting contrast |  |  |  |
| 4 | RS-422/485 connector | RS-422/485 connector for communication channel 2 |  |  |  |
| 5 | RS-232C connector | RS-232C connector for communication channel 1 |  |  |  |