Chapter 8. Communication

8.1 Connection diagram(to LG PLC)

8.1.1. Channel 1(RS-232C)

1) MASTER-K/GM(Loader)

| 1 2 3 4 6 7 8 9 5 | XGT Panel | Pin assignment And direction | MASTER-K/GM main unit |  |
| --- | --- | --- | --- | --- |
|  | Pin No. |  | Pin No. | Signal |
|  | 1 |  | 1 | 5V |
|  | 2 |  | 2 | RXD1 |
|  | 3 |  | 3 | TXD1 |
|  | 4 |  | 4 | RXD2 |
|  | 5 |  | 5 | SG |
|  | 6 |  | 6 | 5V |
|  | 7 |  | 7 | TXD2 |
|  | 8 |  | 8 | SG |
|  | 9 |  | 9 | SG |

2) MASTER-K/GM(Built-in Cnet)

| 1 2 3 4 6 7 8 9 5 | XGT Panel | Pin assignment And direction | MASTER-K/GM main unit |  |
| --- | --- | --- | --- | --- |
|  | Pin No. |  | Pin No. | Signal |
|  | 1 |  | 1 | 5V |
|  | 2 |  | 2 | RXD1 |
|  | 3 |  | 3 | TXD1 |
|  | 4 |  | 4 | RXD2 |
|  | 5 |  | 5 | SG |
|  | 6 |  | 6 | 5V |
|  | 7 |  | 7 | TXD2 |
|  | 8 |  | 8 | SG |
|  | 9 |  | 9 | SG |

3) MASTER-K/GM(External Cnet module)

| 1 2 3 4 6 7 8 9 5 | XGT Panel | Pin assignment And direction | MASTER-K/GM Cnet |  |
| --- | --- | --- | --- | --- |
|  | Pin No. |  | Pin No. | Signal |
|  | 1 |  | 1 | CD |
|  | 2 |  | 2 | RXD |
|  | 3 |  | 3 | TXD |
|  | 4 |  | 4 | DTR |
|  | 5 |  | 5 | SG |
|  | 6 |  | 6 | DSR |
|  | 7 |  | 7 | RTS |
|  | 8 |  | 8 | CTS |
|  | 9 |  | 9 |  |

8.1.2. Channel 2(RS-422/485)

1) RS-422

Terminating resistor

RDA

RDB

SDA

SG

SDB

XGT Panel

Slave

Slave

Slave

2) RS-485

Terminating resistor

+

-

+

-

+

-

RDA

RDB

SDA

SG

SDB

XGT Panel

Slave

Slave

Slave

8.2 Panel Editor Connection Diagram

1) Connection diagram

| 1 2 3 4 5 6 7 8 9 | PC | Pin assignment And direction | XGT Panel |  |
| --- | --- | --- | --- | --- |
|  | Pin No. |  | Pin No. | Signal |
|  | 1 |  | 1 |  |
|  | 2 |  | 2 | TXD1 |
|  | 3 |  | 3 | RXD1 |
|  | 4 |  | 4 | TXD2 |
|  | 5 |  | 5 | SG |
|  | 6 |  | 6 |  |
|  | 7 |  | 7 |  |
|  | 8 |  | 8 |  |
|  | 9 |  | 9 |  |