INDEX

Chapter 1 Overview

1.1 How to use the User’s Manual------------------------------------------------------------------------------ 1-1

1.2 Characteristics of Smart I/O--------------------------------------------------------------------------------- 1-2

1.3 Product Configuration of Smart I/O ----------------------------------------------------------------------- 1-3

1.3.1 Type name indication-------------------------------------------------------------------------------- 1-3

1.3.2 Characteristics per module----------------------------------------------------------------------- 1-4

1.3.3 Version Compatibility Table per Smart I/O module ------------------------------------------ 1-6

Chapter 2 Product Specification

2.1 General Specification----------------------------------------------------------------------------------------- 2-1

2.2 Power Specification-------------------------------------------------------------------------------------------- 2-2

2.2.1 Performance Specification------------------------------------------------------------------------- 2-2

2.3 Digital Input Module Specification-------------------------------------------------------------------------- 2-3

2.3.1 DC 16 point input module : GPL/GDL/GRL/GSL-D22A ---------------------------------- 2-3

2.3.1 DC 32 point input module : GPL/GDL/GRL/GSL-D24A ----------------------------------- 2-4

2.4 Digital Output Module Specification------------------------------------------------------------------------2-5

2.4.1 16 point relay output module : GPL/GDL/GRL/GSL-RY2A ------------------------------- 2-5

2.4.2 16 point transistor output module : GPL/GDL/GRL/GSL-TR2A ------------------------ 2-6

2.4.3 32 point transistor output module : GPL/GDL/GRL/GSL-TR4A ------------------------- 2-7

2.5 Digital I/O combined Module Specification-------------------------------------------------------------- 2-8

2.5.1 32point I/O combined module (DC16/TR16 point) : GPL/GDL/GFL/GSL-DT4A ---- 2-8

2.6 Communication Module Specification-------------------------------------------------------------------- 2-9

2.6.1 Profibus-DP module specification---------------------------------------------------------------- 2-9

2.6.2 DeviceNet module specification------------------------------------------------------------------ 2-9

2.6.3 Rnet module specification ---------------------------------------------------------------------- 2-10

2.6.4 Modbus module specification------------------------------------------------------------------- 2-10

2.7 Communication Cable Specification -------------------------------------------------------------------- 2-11

2.7.1 Profibus-DP cable specification---------------------------------------------------------------- 2-11

2.7.2 DeviceNet cable specification------------------------------------------------------------------ 2-12

2.7.3 Rnet cable specification-------------------------------------------------------------------------- 2-14

2.7.4 Modbus cable specification--------------------------------------------------------------------- 2-15

2.8 Terminating----------------------------------------------------------------------------------------------- 2-16

2.8.1 Profibus-DP terminating---------------------------------------------------------------------- 2-16

2.8.2 DeviceNet terminating------------------------------------------------------------------------ 2-16

2.8.3 Rnet terminating-------------------------------------------------------------------------------- 2-17

2.8.4 Modbus terminating--------------------------------------------------------------------------- 2-18

Chapter 3 System Configuration

3.1 Notices in selecting module--------------------------------------------------------------------------------- 3-1

3.2 Names of Each Part-------------------------------------------------------------------------------------- 3-2

3.2.1 Basic system configuration------------------------------------------------------------------------ 3-2

3.2.2 Names of each part of Smart I/O series---------------------------------------------------- 3-3

3.3 I/O Wiring Diagram of Communication Module--------------------------------------------------------- 3-9

3.3.1 External connection diagram of Smart I/O module----------------------------------------- 3-9

3.4 Examples of System Configuration---------------------------------------------------------------------- 3-17

3.4.1 Profibus-DP system------------------------------------------------------------------------------- 3-17

3.4.2 DeviceNet system -------------------------------------------------------------------------------- 3-18

3.4.3 Rnet system ---------------------------------------------------------------------------------------- 3-19

3.4.4 Modbus system ------------------------------------------------------------------------------------ 3-20

Chapter 4 Communication Programming

4.1 Overview------------------------------------------------------------------------------------------------------- 4-1

4.2 High Speed Link------------------------------------------------------------------------------------------------ 4-3

4.2.1 Overview-------------------------------------------------------------------------------------------------- 4-3

4.2.2 High Speed Link sending/receiving data processing------------------------------------------ 4-4

4.2.3 Operation order by High Speed Link-------------------------------------------------------------- 4-5

4.2.4 GMWIN’s setting of High Speed Link------------------------------------------------------------ 4-6

4.2.5 KGLWIN Link parameter setting------------------------------------------------------------------ 4-14

- 4.2.6 High Speed Link Communication status flag information----------------------------------- 4-18

- 4.2.7 High Speed Link Speed calculation-------------------------------------------------------------- 4-21

4.3 Function Block------------------------------------------------------------------------------------------------- 4-25

- 4.3.1 Overview------------------------------------------------------------------------------------------------- 4-25

4.3.2 Start of GMWIN Function Block-------------------------------------------------------------------- 4-25

4.3.3 Execution of KGLWIN command------------------------------------------------------------------ 4-27

Chapter 5 Profibus-DP Communication

5.1 Overview-------------------------------------------------------------------------------------------------------- 5-1

5.2 Communication Specification------------------------------------------------------------------------------- 5-1

5.3 Basic Performance--------------------------------------------------------------------------------------------- 5-2

5.3.1 Overview----------------------------------------------------------------------------------------------- 5-2

5.3.2 Operation by High Speed Link ------------------------------------------------------------------- 5-2

5.3.3 SyCon ----------------------------------------------------------------------------------------------- 5-3

5.3.4 Insertion of master module------------------------------------------------------------------------ 5-4

5.3.5 Master module setting------------------------------------------------------------------------------ 5-5

5.3.6 Insertion of slave------------------------------------------------------------------------------------ 5-6

5.3.7 Slave Configuration -------------------------------------------------------------------------------- 5-7

#### 5.3.8 Bus parameter setting------------------------------------------------------------------------------ 5-8

#### 5.3.9 Device allocation---------------------------------------------------------------------------------- 5-9

#### 5.3.10 Configuration download - ---------------------------------------------------------------------- 5-11

#### 5.3.11 High Speed Link parameter setting in GMWIN-------------------------------------------- 5-12

### 5.3.12 High Speed Link information in GMWIN----------------------------------------------------- 5-16

#### 5.3.13 High Speed Link parameter setting in KGLWIN------------------------------------------- 5-20

Chapter 6 DeviceNet Communication

6.1 Overview------------------------------------------------------------------------------------------------------- 6-1

6.2 Communication Specification------------------------------------------------------------------------------- 6-2

6.3 Communication Parameter Setting------------------------------------------------------------------------ 6-3

6.3.1 High Speed Link service---------------------------------------------------------------------------- 6-4

6.4 Program Examples------------------------------------------------------------------------------------------- 6-12

6.4.1 GLOFA-GM series---------------------------------------------------------------------------------- 6-12

6.4.2 MASTER-K series -------------------------------------------------------------------------------- 6-16

Chapter 7 Rnet Communication

7.1 Overview------------------------------------------------------------------------------------------------------ 7-1

7.2 Communication Specification------------------------------------------------------------------------------ 7-1

7.3 Communication Parameter Setting----------------------------------------------------------------------- 7-2

7.3.1 Overview-------------------------------------------------------------------------------------------- 7-2

7.3.2 High Speed Link communication status flag-------------------------------------------------- 7-3

7.3.3 GMWIN High Speed Link setting----------------------------------------------------------------- 7-3

7.3.4 KGLWIN Link setting------------------------------------------------------------------------------- 7-12

7.4 Program Examples------------------------------------------------------------------------------------------- 7-22

7.4.1 GLOFA-GM series -------------------------------------------------------------------------------- 7-22

7.4.2 MASTER-K series -------------------------------------------------------------------------------- 7-24

Chapter 8 Modbus Communication

8.1 Overview-------------------------------------------------------------------------------------------------------- 8-1

8.2 Communication Specification------------------------------------------------------------------------------- 8-1

8.3 Communication Parameter Setting----------------------------------------------------------------------- 8-6

8.3.1 GLOFA-GM series ---------------------------------------------------------------------------------- 8-6

8.3.2 MASTER-K series ----------------------------------------------------------------------------------- 8-9

8.4 Function Block------------------------------------------------------------------------------------------------- 8-11

8.4.1 GLOFA-GM series -------------------------------------------------------------------------------- 8-11

8.4.2 MASTER-K series -------------------------------------------------------------------------------- 8-32

8.5 Program Examples------------------------------------------------------------------------------------------- 8-34

8.5.1 GLOFA-GM series -------------------------------------------------------------------------------- 8-34

8.5.2 MASTER-K series -------------------------------------------------------------------------------- 8-44

Chapter 9 Installation & Wiring

9.1 Installation------------------------------------------------------------------------------------------------------- 9-1

9.1.1 Installation Environment---------------------------------------------------------------------------- 9-1

9.1.2 Notices in installing Profibus-DP module------------------------------------------------------- 9-2

9.1.3 Notices in installing DeviceNet module-------------------------------------------------------- 9-3

9.1.4 Notices in installing Rnet module--------------------------------------------------------------- 9-8

9.1.5 Notices in installing Modbus module----------------------------------------------------------- 9-9

9.1.6 Notices in Handling------------------------------------------------------------------------------- 9-10

9.2 Wiring----------------------------------------------------------------------------------------------------------- 9-14

9.2.1 Power wiring---------------------------------------------------------------------------------------- 9-14

9.2.2 I/O Machine Wiring-------------------------------------------------------------------------------- 9-16

9.2.3 Grounding wiring----------------------------------------------------------------------------------- 9-16

9.2.4 Cable specification for wiring------------------------------------------------------------------- 9-17

Chapter 10 Maintenance and Repair

10.1 Repair and Check------------------------------------------------------------------------------------------ 10-1

10.2 Daily Check-------------------------------------------------------------------------------------------------- 10-2

10.3 Regular Check---------------------------------------------------------------------------------------------- 10-4

Chapter 11 Trouble Shooting

11.1 Basic Procedure of Trouble Shooting----------------------------------------------------------------- 11-1

11.2 Trouble Shooting-------------------------------------------------------------------------------------------- 11-2

11.2.1 Action method when POWER LED is OFF ------------------------------------------------ 11-3

11.2.2 Action method when ERR LED is blinking-------------------------------------------------- 11-4

11.2.3 Action method when RUN LED is OFF ----------------------------------------------------- 11-5

11.2.4 Action method when I/O part does not work normally------------------------------------ 11-6

11.2.5 Action method when Program Write does not work -------------------------------------- 11-8

11.3 Trouble Shooting Questionnaire------------------------------------------------------------------------- 11-9

Appendix

A.1 Communication Terminology------------------------------------------------------------------------------ A-1

A1.1 Profibus-DP -------------------------------------------------------------------------------------------- A-1

A1.2 DeviceNet ----------------------------------------------------------------------------------------------- A-3

A1.3 Rnet ------------------------------------------------------------------------------------------------------- A-4

A1.4 Modbus --------------------------------------------------------------------------------------------------- A-6

A.2 External Dimension------------------------------------------------------------------------------------------- A-7