Chapter 5. Basic Instructions

5.1 Contacts

▷	The contact transfers the horizontal connection line status, BOOL input/output, or Boolean AND of memory variables to the horizontal connection line at right side. The contact does not change the variable value relating to contact. The standard contact symbols are as below.

| Static contacts |  |  |
| --- | --- | --- |
| No. | Symbol | Description |
| 1 | *** | Normally Open Contact When BOOL variable(marked by "***") is ON, left connection line is copied to the right. Otherwise, right connection is OFF. |
| 2 | *** / | Normally Closed Contact When BOOL variable (marked by "***") is OFF, left connection line is copied to the right. Otherwise, right connection is OFF. |
| Transition sensing contacts |  |  |
| 3 | *** P | Positive transition-sensing contact The state of the right connection is ON from one evaluation of this element to the next when a transition of the associated variable from OFF to ON is sensed at the same time that the state of the left connection is ON. The state of the right connection shall be OFF at all other times. |
| 4 | *** N | Negative transition-sensing contact The state of the right connection is ON from one evaluation of this element to the next when a transition of the associated variable from ON to OFF is sensed at the same time that the state of the left connection is ON. The state of the right connection shall be OFF at all other times. |

5.2.	Coils

▷	Coil stores the result of left connection status or status transition to related BOOL variable. The standard coil symbol is as below.

| Momentary Coils |  |  |
| --- | --- | --- |
| No. | Symbol | Description |
| 1 | ( ) *** | Coil The state of the left connection is copied to the associated BOOL variable (marked by “***”) |
| 2 | *** ( / ) | Negated Coil Input negated left connection line status to the associated BOOL variable (marked by "***"). If left connection line is OFF, it switches relating variable ON and if left connection line ON, it switches relating variable OFF. |
| Latched Coils |  |  |
| 3 ( S ) | *** | Set (Latch) Coil When left connection is ON, associated BOOL variable (marked by "***") is ON till reset by a reset coil. |
| 4 | *** ( R ) | Reset(Unlatch) Coil When left connection is ON, associated BOOL variable(marked by "***") is OFF till set by a set coil. |
| Transition-Sensing Coils |  |  |
| 5 | *** ( P ) | Positive Transition-Sensing Coil When the left connection(marked by "***"), which is OFF during previous scanning, is on during current scanning, value of the associated BOOL variable (marked by "***") is ON only during current scanning. |
| 6 | *** ( N ) | Negative Transition-Sensing Coil When the left connection(marked by "***"), which is ON during previous scanning, is OFF during current scanning, value of the associated BOOL variable (marked by "***") is ON only during current scanning. |

▷	Coil can be located only at right side of LD. There’s only right power rail at the right of coil.